## parameters
| version | converged | name | f_hz | sn_mva | OPF_converged
0 | 2.6.0 | TRUE |  | 60 | 1 | FALSE

## bus
| in_service | max_vm_pu | min_vm_pu | name | type | vn_kv | zone
0 | TRUE | 1.06 | 0.94 | 1 | b | 345 | 2
1 | TRUE | 1.06 | 0.94 | 2 | b | 345 | 2
10 | TRUE | 1.06 | 0.94 | 11 | b | 345 | 1
11 | TRUE | 1.06 | 0.94 | 12 | b | 345 | 1
12 | TRUE | 1.06 | 0.94 | 13 | b | 345 | 1
13 | TRUE | 1.06 | 0.94 | 14 | b | 345 | 1
14 | TRUE | 1.06 | 0.94 | 15 | b | 345 | 3
15 | TRUE | 1.06 | 0.94 | 16 | b | 345 | 3
16 | TRUE | 1.06 | 0.94 | 17 | b | 345 | 2
17 | TRUE | 1.06 | 0.94 | 18 | b | 345 | 2
18 | TRUE | 1.06 | 0.94 | 19 | b | 345 | 3
19 | TRUE | 1.06 | 0.94 | 20 | b | 345 | 3
2 | TRUE | 1.06 | 0.94 | 3 | b | 345 | 2
20 | TRUE | 1.06 | 0.94 | 21 | b | 345 | 3
21 | TRUE | 1.06 | 0.94 | 22 | b | 345 | 3
22 | TRUE | 1.06 | 0.94 | 23 | b | 345 | 3
23 | TRUE | 1.06 | 0.94 | 24 | b | 345 | 3
24 | TRUE | 1.06 | 0.94 | 25 | b | 345 | 2
25 | TRUE | 1.06 | 0.94 | 26 | b | 345 | 2
26 | TRUE | 1.06 | 0.94 | 27 | b | 345 | 2
27 | TRUE | 1.06 | 0.94 | 28 | b | 345 | 3
28 | TRUE | 1.06 | 0.94 | 29 | b | 345 | 3
29 | TRUE | 1.06 | 0.94 | 30 | b | 345 | 2
3 | TRUE | 1.06 | 0.94 | 4 | b | 345 | 1
30 | TRUE | 1.06 | 0.94 | 31 | b | 345 | 1
31 | TRUE | 1.06 | 0.94 | 32 | b | 345 | 1
32 | TRUE | 1.06 | 0.94 | 33 | b | 345 | 3
33 | TRUE | 1.06 | 0.94 | 34 | b | 345 | 3
34 | TRUE | 1.06 | 0.94 | 35 | b | 345 | 3
35 | TRUE | 1.06 | 0.94 | 36 | b | 345 | 3
36 | TRUE | 1.06 | 0.94 | 37 | b | 345 | 2
37 | TRUE | 1.06 | 0.94 | 38 | b | 345 | 3
38 | TRUE | 1.06 | 0.94 | 39 | b | 345 | 1
4 | TRUE | 1.06 | 0.94 | 5 | b | 345 | 1
5 | TRUE | 1.06 | 0.94 | 6 | b | 345 | 1
6 | TRUE | 1.06 | 0.94 | 7 | b | 345 | 1
7 | TRUE | 1.06 | 0.94 | 8 | b | 345 | 1
8 | TRUE | 1.06 | 0.94 | 9 | b | 345 | 1
9 | TRUE | 1.06 | 0.94 | 10 | b | 345 | 1

## load
| bus | const_i_percent | const_z_percent | controllable | in_service | name | p_mw | q_mvar | scaling | sn_mva | type
0 | 0 | 0 | 0 | FALSE | TRUE |  | 97.6 | 44.2 | 1
1 | 2 | 0 | 0 | FALSE | TRUE |  | 322 | 2.4 | 1
10 | 19 | 0 | 0 | FALSE | TRUE |  | 680 | 103 | 1
11 | 20 | 0 | 0 | FALSE | TRUE |  | 274 | 115 | 1
12 | 22 | 0 | 0 | FALSE | TRUE |  | 247.5 | 84.6 | 1
13 | 23 | 0 | 0 | FALSE | TRUE |  | 308.6 | -92.2 | 1
14 | 24 | 0 | 0 | FALSE | TRUE |  | 224 | 47.2 | 1
15 | 25 | 0 | 0 | FALSE | TRUE |  | 139 | 17 | 1
16 | 26 | 0 | 0 | FALSE | TRUE |  | 281 | 75.5 | 1
17 | 27 | 0 | 0 | FALSE | TRUE |  | 206 | 27.6 | 1
18 | 28 | 0 | 0 | FALSE | TRUE |  | 283.5 | 26.9 | 1
19 | 30 | 0 | 0 | FALSE | TRUE |  | 9.2 | 4.6 | 1
2 | 3 | 0 | 0 | FALSE | TRUE |  | 500 | 184 | 1
20 | 38 | 0 | 0 | FALSE | TRUE |  | 1104 | 250 | 1
3 | 6 | 0 | 0 | FALSE | TRUE |  | 233.8 | 84 | 1
4 | 7 | 0 | 0 | FALSE | TRUE |  | 522 | 176.6 | 1
5 | 8 | 0 | 0 | FALSE | TRUE |  | 6.5 | -66.6 | 1
6 | 11 | 0 | 0 | FALSE | TRUE |  | 8.53 | 88 | 1
7 | 14 | 0 | 0 | FALSE | TRUE |  | 320 | 153 | 1
8 | 15 | 0 | 0 | FALSE | TRUE |  | 329 | 32.3 | 1
9 | 17 | 0 | 0 | FALSE | TRUE |  | 158 | 30 | 1

## gen
| bus | controllable | in_service | name | p_mw | scaling | sn_mva | type | vm_pu | slack | max_p_mw | min_p_mw | max_q_mvar | min_q_mvar
0 | 29 | TRUE | TRUE |  | 250 | 1 |  |  | 1.0499 | FALSE | 1040 | 0 | 400 | 140
1 | 31 | TRUE | TRUE |  | 650 | 1 |  |  | 0.9841 | FALSE | 725 | 0 | 300 | 150
2 | 32 | TRUE | TRUE |  | 632 | 1 |  |  | 0.9972 | FALSE | 652 | 0 | 250 | 0
3 | 33 | TRUE | TRUE |  | 508 | 1 |  |  | 1.0123 | FALSE | 508 | 0 | 167 | 0
4 | 34 | TRUE | TRUE |  | 650 | 1 |  |  | 1.0494 | FALSE | 687 | 0 | 300 | -100
5 | 35 | TRUE | TRUE |  | 560 | 1 |  |  | 1.0636 | FALSE | 580 | 0 | 240 | 0
6 | 36 | TRUE | TRUE |  | 540 | 1 |  |  | 1.0275 | FALSE | 564 | 0 | 250 | 0
7 | 37 | TRUE | TRUE |  | 830 | 1 |  |  | 1.0265 | FALSE | 865 | 0 | 300 | -150
8 | 38 | TRUE | TRUE |  | 1000 | 1 |  |  | 1.03 | FALSE | 1100 | 0 | 300 | -100

## ext_grid
| bus | in_service | name | va_degree | vm_pu | max_p_mw | min_p_mw | max_q_mvar | min_q_mvar
0 | 30 | TRUE |  | 0 | 0.982 | 646 | 0 | 300 | -100

## line
| c_nf_per_km | df | from_bus | g_us_per_km | in_service | length_km | max_i_ka | max_loading_percent | name | parallel | r_ohm_per_km | std_type | to_bus | type | x_ohm_per_km
0 | 1557.1177 | 1 | 0 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 4.1659 |  | 1 | ol | 48.9193
1 | 1671.4445 | 1 | 0 | 0 | TRUE | 1 | 1.6735 | 100 |  | 1 | 1.1903 |  | 38 | ol | 29.7563
10 | 251.831 | 1 | 5 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 0.71415 |  | 6 | ol | 10.9503
11 | 309.5515 | 1 | 5 | 0 | TRUE | 1 | 0.80327 | 100 |  | 1 | 0.83317 |  | 10 | ol | 9.76
12 | 173.8302 | 1 | 6 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 0.4761 |  | 7 | ol | 5.4752
13 | 847.7566 | 1 | 7 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 2.7376 |  | 8 | ol | 43.2061
14 | 2674.3112 | 1 | 8 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 1.1903 |  | 38 | ol | 29.7563
15 | 162.4644 | 1 | 9 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.4761 |  | 10 | ol | 5.1181
16 | 162.4644 | 1 | 9 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.4761 |  | 12 | ol | 5.1181
17 | 383.9865 | 1 | 12 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 1.0712 |  | 13 | ol | 12.0215
18 | 815.6649 | 1 | 13 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 2.1425 |  | 14 | ol | 25.8284
19 | 381.0893 | 1 | 14 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 1.0712 |  | 15 | ol | 11.1883
2 | 573.194 | 1 | 1 | 0 | TRUE | 1 | 0.83674 | 100 |  | 1 | 1.5473 |  | 2 | ol | 17.9728
20 | 299.0771 | 1 | 15 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.83317 |  | 16 | ol | 10.5932
21 | 677.4922 | 1 | 15 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 1.9044 |  | 18 | ol | 23.2099
22 | 567.8454 | 1 | 15 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.9522 |  | 20 | ol | 16.0684
23 | 151.5443 | 1 | 15 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.35707 |  | 23 | ol | 7.0225
24 | 293.9514 | 1 | 16 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.83317 |  | 17 | ol | 9.76
25 | 716.7154 | 1 | 16 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 1.5473 |  | 26 | ol | 20.5913
26 | 571.634 | 1 | 20 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 0.9522 |  | 21 | ol | 16.6635
27 | 411.3982 | 1 | 21 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.71415 |  | 22 | ol | 11.4264
28 | 804.5219 | 1 | 22 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 2.6185 |  | 23 | ol | 41.6587
29 | 0 | 1 | 22 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 0.59513 |  | 35 | ol | 32.3748
3 | 325.3745 | 1 | 1 | 0 | TRUE | 1 | 0.83674 | 100 |  | 1 | 8.3317 |  | 24 | ol | 10.2362
30 | 1183.3827 | 1 | 24 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 3.8088 |  | 25 | ol | 38.4451
31 | 533.9708 | 1 | 25 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 1.6663 |  | 26 | ol | 17.4967
32 | 1738.748 | 1 | 25 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 5.1181 |  | 27 | ol | 56.4178
33 | 2293.2218 | 1 | 25 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 6.7844 |  | 28 | ol | 74.3906
34 | 554.9196 | 1 | 27 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 1.6663 |  | 28 | ol | 17.9728
4 | 493.4104 | 1 | 2 | 0 | TRUE | 1 | 0.83674 | 100 |  | 1 | 1.5473 |  | 3 | ol | 25.3523
5 | 476.4731 | 1 | 2 | 0 | TRUE | 1 | 0.83674 | 100 |  | 1 | 1.3093 |  | 17 | ol | 15.8303
6 | 299.0771 | 1 | 3 | 0 | TRUE | 1 | 1.0041 | 100 |  | 1 | 0.9522 |  | 4 | ol | 15.2352
7 | 307.9915 | 1 | 3 | 0 | TRUE | 1 | 0.83674 | 100 |  | 1 | 0.9522 |  | 13 | ol | 15.3542
8 | 96.7209 | 1 | 4 | 0 | TRUE | 1 | 2.0082 | 100 |  | 1 | 0.23805 |  | 5 | ol | 3.0947
9 | 328.9403 | 1 | 4 | 0 | TRUE | 1 | 1.5061 | 100 |  | 1 | 0.9522 |  | 7 | ol | 13.3308

## trafo
| df | hv_bus | i0_percent | in_service | lv_bus | max_loading_percent | name | parallel | pfe_kw | shift_degree | sn_mva | std_type | tap_max | tap_neutral | tap_min | tap_phase_shifter | tap_pos | tap_side | tap_step_degree | tap_step_percent | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent
0 | 1 | 1 | 0 | TRUE | 29 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 2.5 | 345 | 345 | 16.29 | 0
1 | 1 | 5 | 0 | TRUE | 30 | 100 |  | 1 | 0 | 0 | 1800 |  |  | 0 |  | FALSE | 1 | hv |  | 7 | 345 | 345 | 45 | 0
10 | 1 | 28 | 0 | TRUE | 37 | 100 |  | 1 | 0 | 0 | 1200 |  |  | 0 |  | FALSE | 1 | hv |  | 2.5 | 345 | 345 | 18.7446 | 0.96
2 | 1 | 9 | 0 | TRUE | 31 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 7 | 345 | 345 | 18 | 0
3 | 1 | 11 | 0 | TRUE | 10 | 100 |  | 1 | 0 | 0 | 500 |  |  | 0 |  | FALSE | 1 | hv |  | 0.6 | 345 | 345 | 21.7647 | 0.8
4 | 1 | 11 | 0 | TRUE | 12 | 100 |  | 1 | 0 | 0 | 500 |  |  | 0 |  | FALSE | 1 | hv |  | 0.6 | 345 | 345 | 21.7647 | 0.8
5 | 1 | 18 | 0 | TRUE | 19 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 6 | 345 | 345 | 12.436 | 0.63
6 | 1 | 18 | 0 | TRUE | 32 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 7 | 345 | 345 | 12.7955 | 0.63
7 | 1 | 19 | 0 | TRUE | 33 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 0.9 | 345 | 345 | 16.2202 | 0.81
8 | 1 | 21 | 0 | TRUE | 34 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 2.5 | 345 | 345 | 12.87 | 0
9 | 1 | 24 | 0 | TRUE | 36 | 100 |  | 1 | 0 | 0 | 900 |  |  | 0 |  | FALSE | 1 | hv |  | 2.5 | 345 | 345 | 20.887 | 0.54

## poly_cost
| element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2
0 | 0 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
1 | 0 | ext_grid | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
2 | 1 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
3 | 2 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
4 | 3 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
5 | 4 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
6 | 5 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
7 | 6 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
8 | 7 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0
9 | 8 | gen | 0.2 | 0.3 | 0.01 | 0 | 0 | 0

## bus_geodata
| x | y | coords
0 | 3.8652 | -7.5205
1 | 2.7811 | -6.9957
10 | 5.5562 | -2.8236
11 | 4.6037 | -2.6447
12 | 3.617 | -2.6253
13 | 2.9156 | -3.6182
14 | 1.6998 | -3.4538
15 | 0.47924 | -3.7232
16 | 0.65414 | -4.9393
17 | 1.73 | -5.3046
18 | -0.74433 | -3.9592
19 | -1.8864 | -4.3409
2 | 2.8005 | -5.7411
20 | 0.54245 | -2.5387
21 | 0.13783 | -1.4071
22 | -0.74592 | -1.8135
23 | -0.17577 | -2.8722
24 | 1.7039 | -7.5803
25 | 0.51558 | -7.2723
26 | 0.24413 | -6.0846
27 | -0.50382 | -7.6398
28 | -0.079576 | -8.2967
29 | 3.0524 | -8.0713
3 | 3.5065 | -4.7551
30 | 6.8254 | -3.6695
31 | 5.0993 | -0.97741
32 | -1.6559 | -3.3268
33 | -3.0256 | -4.2897
34 | 0.013208 | -0.28881
35 | -1.617 | -1.0958
36 | 1.7874 | -8.7601
37 | -0.78503 | -9.1512
38 | 5.0005 | -7.6331
4 | 4.7458 | -4.7889
5 | 5.7035 | -3.9958
6 | 6.4539 | -4.8816
7 | 5.6116 | -5.6222
8 | 5.7471 | -6.7716
9 | 4.6634 | -1.9938

## line_std_types
| type | r_ohm_per_km | q_mm2 | x_ohm_per_km | c_nf_per_km | max_i_ka
NAYY 4x150 SE | cs | 0.208 | 150 | 0.08 | 261 | 0.27
70-AL1/11-ST1A 20.0 | ol | 0.4132 | 70 | 0.36 | 9.7 | 0.29
NA2XS2Y 1x70 RM/25 6/10 kV | cs | 0.443 | 70 | 0.123 | 280 | 0.217
N2XS(FL)2Y 1x300 RM/35 64/110 kV | cs | 0.06 | 300 | 0.144 | 144 | 0.588
NA2XS2Y 1x120 RM/25 6/10 kV | cs | 0.253 | 120 | 0.113 | 340 | 0.28
149-AL1/24-ST1A 10.0 | ol | 0.194 | 149 | 0.315 | 11.25 | 0.47
15-AL1/3-ST1A 0.4 | ol | 1.8769 | 16 | 0.35 | 11 | 0.105
NA2XS2Y 1x185 RM/25 6/10 kV | cs | 0.161 | 185 | 0.11 | 406 | 0.358
NA2XS2Y 1x240 RM/25 6/10 kV | cs | 0.122 | 240 | 0.105 | 456 | 0.416
N2XS(FL)2Y 1x240 RM/35 64/110 kV | cs | 0.075 | 240 | 0.149 | 135 | 0.526
NAYY 4x120 SE | cs | 0.225 | 120 | 0.08 | 264 | 0.242
48-AL1/8-ST1A 10.0 | ol | 0.5939 | 48 | 0.35 | 10.1 | 0.21
94-AL1/15-ST1A 10.0 | ol | 0.306 | 94 | 0.33 | 10.75 | 0.35
NA2XS2Y 1x70 RM/25 12/20 kV | cs | 0.443 | 70 | 0.132 | 190 | 0.22
243-AL1/39-ST1A 20.0 | ol | 0.1188 | 243 | 0.32 | 11 | 0.645
NA2XS2Y 1x150 RM/25 6/10 kV | cs | 0.206 | 150 | 0.11 | 360 | 0.315
184-AL1/30-ST1A 110.0 | ol | 0.1571 | 184 | 0.4 | 8.8 | 0.535
149-AL1/24-ST1A 110.0 | ol | 0.194 | 149 | 0.41 | 8.75 | 0.47
NA2XS2Y 1x240 RM/25 12/20 kV | cs | 0.122 | 240 | 0.112 | 304 | 0.421
122-AL1/20-ST1A 20.0 | ol | 0.2376 | 122 | 0.344 | 10.3 | 0.41
48-AL1/8-ST1A 20.0 | ol | 0.5939 | 48 | 0.372 | 9.5 | 0.21
34-AL1/6-ST1A 10.0 | ol | 0.8342 | 34 | 0.36 | 9.7 | 0.17
24-AL1/4-ST1A 0.4 | ol | 1.2012 | 24 | 0.335 | 11.25 | 0.14
184-AL1/30-ST1A 20.0 | ol | 0.1571 | 184 | 0.33 | 10.75 | 0.535
94-AL1/15-ST1A 20.0 | ol | 0.306 | 94 | 0.35 | 10 | 0.35
NAYY 4x50 SE | cs | 0.642 | 50 | 0.083 | 210 | 0.142
490-AL1/64-ST1A 380.0 | ol | 0.059 | 490 | 0.253 | 11 | 0.96
48-AL1/8-ST1A 0.4 | ol | 0.5939 | 48 | 0.3 | 12.2 | 0.21
NA2XS2Y 1x95 RM/25 6/10 kV | cs | 0.313 | 95 | 0.123 | 315 | 0.249
NA2XS2Y 1x120 RM/25 12/20 kV | cs | 0.253 | 120 | 0.119 | 230 | 0.283
34-AL1/6-ST1A 20.0 | ol | 0.8342 | 34 | 0.382 | 9.15 | 0.17
94-AL1/15-ST1A 0.4 | ol | 0.306 | 94 | 0.29 | 13.2 | 0.35
NA2XS2Y 1x185 RM/25 12/20 kV | cs | 0.161 | 185 | 0.117 | 273 | 0.362
NA2XS2Y 1x150 RM/25 12/20 kV | cs | 0.206 | 150 | 0.116 | 250 | 0.319
243-AL1/39-ST1A 110.0 | ol | 0.1188 | 243 | 0.39 | 9 | 0.645
490-AL1/64-ST1A 220.0 | ol | 0.059 | 490 | 0.285 | 10 | 0.96
N2XS(FL)2Y 1x185 RM/35 64/110 kV | cs | 0.099 | 185 | 0.156 | 125 | 0.457
N2XS(FL)2Y 1x120 RM/35 64/110 kV | cs | 0.153 | 120 | 0.166 | 112 | 0.366
NA2XS2Y 1x95 RM/25 12/20 kV | cs | 0.313 | 95 | 0.132 | 216 | 0.252
122-AL1/20-ST1A 10.0 | ol | 0.2376 | 122 | 0.323 | 11.1 | 0.41
149-AL1/24-ST1A 20.0 | ol | 0.194 | 149 | 0.337 | 10.5 | 0.47
70-AL1/11-ST1A 10.0 | ol | 0.4132 | 70 | 0.339 | 10.4 | 0.29
305-AL1/39-ST1A 110.0 | ol | 0.0949 | 305 | 0.38 | 9.2 | 0.74

## trafo_std_types
| shift_degree | vector_group | vn_hv_kv | pfe_kw | i0_percent | vn_lv_kv | sn_mva | tap_step_degree | tap_neutral | tap_min | vkr_percent | tap_step_percent | tap_side | tap_phase_shifter | tap_max | vk_percent
0.4 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.35 | 0.3375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.425 | 2.5 | hv | FALSE | 2 | 6
63 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 33 | 0.086 | 20 | 63 | 0 | 0 | -9 | 0.322 | 1.5 | hv | FALSE | 9 | 11.2
63 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 31.51 | 0.078 | 10 | 63 | 0 | 0 | -9 | 0.31 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 29 | 0.071 | 20 | 25 | 0 | 0 | -9 | 0.282 | 1.5 | hv | FALSE | 9 | 11.2
40 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 31 | 0.08 | 20 | 40 | 0 | 0 | -9 | 0.302 | 1.5 | hv | FALSE | 9 | 11.2
0.25 MVA 20/0.4 kV | 150 | Yzn5 | 20 | 0.8 | 0.32 | 0.4 | 0.25 | 0 | 0 | -2 | 1.44 | 2.5 | hv | FALSE | 2 | 6
25 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 28.51 | 0.073 | 10 | 25 | 0 | 0 | -9 | 0.276 | 1.5 | hv | FALSE | 9 | 10.04
0.25 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.6 | 0.24 | 0.4 | 0.25 | 0 | 0 | -2 | 1.2 | 2.5 | hv | FALSE | 2 | 4
160 MVA 380/110 kV | 0 | Yy0 | 380 | 60 | 0.06 | 110 | 160 | 0 | 0 | -9 | 0.25 | 1.5 | hv | FALSE | 9 | 12.2
63 MVA 110/10 kV | 150 | YNd5 | 110 | 22 | 0.04 | 10 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
0.63 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.65 | 0.2619 | 0.4 | 0.63 | 0 | 0 | -2 | 1.206 | 2.5 | hv | FALSE | 2 | 6
0.4 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.95 | 0.2375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.325 | 2.5 | hv | FALSE | 2 | 4
0.63 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 1.18 | 0.1873 | 0.4 | 0.63 | 0 | 0 | -2 | 1.0794 | 2.5 | hv | FALSE | 2 | 4
63 MVA 110/20 kV | 150 | YNd5 | 110 | 22 | 0.04 | 20 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
100 MVA 220/110 kV | 0 | Yy0 | 220 | 55 | 0.06 | 110 | 100 | 0 | 0 | -9 | 0.26 | 1.5 | hv | FALSE | 9 | 12
25 MVA 110/10 kV | 150 | YNd5 | 110 | 14 | 0.07 | 10 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/20 kV | 150 | YNd5 | 110 | 18 | 0.05 | 20 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2
40 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 30.45 | 0.076 | 10 | 40 | 0 | 0 | -9 | 0.295 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV | 150 | YNd5 | 110 | 14 | 0.07 | 20 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/10 kV | 150 | YNd5 | 110 | 18 | 0.05 | 10 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2

## trafo3w_std_types
| vector_group | vn_mv_kv | vn_lv_kv | shift_lv_degree | shift_mv_degree | pfe_kw | vn_hv_kv | i0_percent | sn_lv_mva | sn_hv_mva | sn_mv_mva | vkr_lv_percent | tap_neutral | tap_min | vk_mv_percent | vkr_hv_percent | vk_lv_percent | tap_max | vkr_mv_percent | tap_step_percent | tap_side | vk_hv_percent
63/25/38 MVA 110/10/10 kV | YN0yn0yn0 | 10 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4
63/25/38 MVA 110/20/10 kV | YN0yn0yn0 | 20 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4

## dtypes
| element | column | dtype
0 | bus | in_service | bool
1 | bus | max_vm_pu | float64
2 | bus | min_vm_pu | float64
3 | bus | name | object
4 | bus | type | object
5 | bus | vn_kv | float64
6 | bus | zone | object
7 | load | bus | uint32
8 | load | const_i_percent | float64
9 | load | const_z_percent | float64
10 | load | controllable | bool
11 | load | in_service | bool
12 | load | name | object
13 | load | p_mw | float64
14 | load | q_mvar | float64
15 | load | scaling | float64
16 | load | sn_mva | float64
17 | load | type | object
18 | gen | bus | uint32
19 | gen | controllable | bool
20 | gen | in_service | bool
21 | gen | name | object
22 | gen | p_mw | float64
23 | gen | scaling | float64
24 | gen | sn_mva | float64
25 | gen | type | object
26 | gen | vm_pu | float64
27 | gen | slack | bool
28 | gen | max_p_mw | float64
29 | gen | min_p_mw | float64
30 | gen | max_q_mvar | float64
31 | gen | min_q_mvar | float64
32 | ext_grid | bus | uint32
33 | ext_grid | in_service | bool
34 | ext_grid | name | object
35 | ext_grid | va_degree | float64
36 | ext_grid | vm_pu | float64
37 | ext_grid | max_p_mw | float64
38 | ext_grid | min_p_mw | float64
39 | ext_grid | max_q_mvar | float64
40 | ext_grid | min_q_mvar | float64
41 | line | c_nf_per_km | float64
42 | line | df | float64
43 | line | from_bus | uint32
44 | line | g_us_per_km | float64
45 | line | in_service | bool
46 | line | length_km | float64
47 | line | max_i_ka | float64
48 | line | max_loading_percent | float64
49 | line | name | object
50 | line | parallel | uint32
51 | line | r_ohm_per_km | float64
52 | line | std_type | object
53 | line | to_bus | uint32
54 | line | type | object
55 | line | x_ohm_per_km | float64
56 | trafo | df | float64
57 | trafo | hv_bus | uint32
58 | trafo | i0_percent | float64
59 | trafo | in_service | bool
60 | trafo | lv_bus | uint32
61 | trafo | max_loading_percent | float64
62 | trafo | name | object
63 | trafo | parallel | uint32
64 | trafo | pfe_kw | float64
65 | trafo | shift_degree | float64
66 | trafo | sn_mva | float64
67 | trafo | std_type | object
68 | trafo | tap_max | float64
69 | trafo | tap_neutral | int32
70 | trafo | tap_min | float64
71 | trafo | tap_phase_shifter | bool
72 | trafo | tap_pos | int32
73 | trafo | tap_side | object
74 | trafo | tap_step_degree | float64
75 | trafo | tap_step_percent | float64
76 | trafo | vn_hv_kv | float64
77 | trafo | vn_lv_kv | float64
78 | trafo | vk_percent | float64
79 | trafo | vkr_percent | float64
80 | poly_cost | element | object
81 | poly_cost | et | object
82 | poly_cost | cp0_eur | float64
83 | poly_cost | cp1_eur_per_mw | float64
84 | poly_cost | cp2_eur_per_mw2 | float64
85 | poly_cost | cq0_eur | float64
86 | poly_cost | cq1_eur_per_mvar | float64
87 | poly_cost | cq2_eur_per_mvar2 | float64
88 | bus_geodata | x | float64
89 | bus_geodata | y | float64
90 | bus_geodata | coords | object